## Metadata
Sensor ID | Units | Sensor Description
RECORD | RN | Record number
P_Total_Avg | Watts | Total Power
F_Comp | Hz | Compressor power frequency
T_RHS_OUT | Deg C | Outdoor Temp from RH probe
RH_OUT | % | Outdoor RH
T_RHS_IN | Deg C | Indoor temp from RH probe at return
RH_IN | % | Indoor return RH
T_RHS_SUP | Deg C | Indoor temp from RH probe at supply
RH_SUP | % | Indoor supply RH
T_OUT | Deg C | Outdoor temp
T_RO_M | Deg C | Refrigerant temp at outdoor coil midpt
T_RO_O | Deg C | Refrigerant temp at outdoor coil exit
T_RI_M | Deg C | Refrigerant temp at indoor coil midpt
T_RI_O | Deg C | Refrigerant temp at indoor coil exit
T_AI | Deg C | Indoor return temp
T_AO1 | Deg C | Indoor supply temp (1)
T_AO2 | Deg C | Indoor supply temp (2)
A_CI | Amps | Inverter and compressor current
A_HP_Total | Amps | Outdoor unit total current
A_I_Avg | Amps | Indoor unit current